## devices
Device Type | Device ID | Name | Location ID | Workplace ID | Linked Location IDs | Remark | Deleted At
VergeSense | Spacewell short tenant name¦VergeSense Building Ref. ID¦VergeSense Building Ref. ID¦VergeSense Room Ref. ID | "VergeSense" Spacewell Location Reference | Spacewell Room ID | Spacewell Workplace ID
VergeSense | Spacewell short tenant name¦VergeSense Building Ref. ID¦VergeSense Building Ref. ID¦VergeSense Room Ref. ID | "VergeSense" Spacewell Location Reference | Spacewell Room ID
VergeSense | spacewell¦Spacewell_HQ¦Floor_1¦Workstation 5 | Vergesense Workstation 5 | 910000000002725 | 910000000002770
VergeSense | spacewell¦Spacewell_HQ¦Floor_1¦Mercury | Vergesense Mercury | 910000000002735

## info
All columns in the 'devices' sheet are imported, and must remain in the same order
Device Type | Device ID | Name | Location ID | Workplace ID | Linked Location IDs | Remark | Deleted At
Valid types:
battery, counter, co2, voc, footfall-in, footfall-out, footfall-in-pulse, footfall-out-pulse, headcount, humidity, open, pir, push, pulse, temperature, table-height, pressure, light-pct, radon, light-lux, light-color
Valid sources:
proximus, disruptive, actility, sigfox, datatech, tracknet, yanzi, pointgrab, logiclink, buildingiq, vergesense, airthings, schneider, generic
Location ID is a physical location where the Sensor Device is installed.
Workplace ID is a workplace where the Sensor Device is installed.
Linked Location IDs are locations where the Sensor Device data will be spread. (coma-separated; without whitespaces).